## Page1_1
Original List provided by Sarah Hessletine
CATEGORY_COMPANY | ADDED_BY_PROJECT_NUM | ADDED_BY_PROJECT_NAME | CATEGORY_CLASSIFICATION | CATEGORY_FERC | RETIREMENT_UNIT | DESCRIPTION | ADDITION_AMOUNT | ADJUSTMENT_AMOUNT | NET ADDITIONS
1 | 131N | 2023 BHD Trans Line Rpr <$25K | TRANSMISSION | 35601 | WIRE NO 2 COPPERWELD | WIRE COPPERWELD, #2 | 5836.88 | 0 | 5836.88
1 | 131N | 2023 BHD Trans Line Rpr <$25K | TRANSMISSION | 35501 | POLE 50' FULLY OWNED | POLES, 50' CLASS 2 | 15694.54 | 0 | 15694.54
1 | 131N | 2023 BHD Trans Line Rpr <$25K | TRANSMISSION | 35601 | INSULATOR 46KV POST TYPE | INSULATORS LINE POST, 46KV | 4790.09 | 0 | 4790.09
1 | 131N | 2023 BHD Trans Line Rpr <$25K | TRANSMISSION | 35501 | POLE 50' FULLY OWNED | POLE COMPOSITE | 15694.54 | 0 | 15694.54
1 | 131N | 2023 BHD Trans Line Rpr <$25K | TRANSMISSION | 35501 | POLE COMPOSITE | COMPOSITE POLE, 50' CLASS 1 | 46037.63 | 0 | 46037.63
9 | 131N | 2023 BHD Trans Line Rpr <$25K | TRANSMISSION | 35501 | CROSSARM FIBERGLASS 96" | ARM FIBERGLASS 8' TANGENT | 6585.3 | 0 | 6585.3
1 | 148G | Line 19 Crossarm Rplc Phase 6 | TRANSMISSION | 35601 | INSULATOR HEND HPI35VT | INSULATORS VISE TOP, 35KV | 107318.2 | 9028.82 | 116347.02
1 | 148G | Line 19 Crossarm Rplc Phase 6 | TRANSMISSION | 35501 | CROSSARM 93"/96" | ARM FIBERGLASS 8' TANGENT | 33887.45 | 2851 | 36738.45
1 | 148G | Line 19 Crossarm Rplc Phase 6 | TRANSMISSION | 35501 | POLE BAND | BAND POLE, CONNECTING LINK | 1438.19 | 120.99 | 1559.18
1 | 148G | Line 19 Crossarm Rplc Phase 6 | TRANSMISSION | 35501 | POLE 50' FULLY OWNED | POLES, 50' CLASS 1 | 7171.68 | 603.37 | 7775.05
1 | 148G | Line 19 Crossarm Rplc Phase 6 | TRANSMISSION | 35501 | ANCHOR | ANCHOR SCREW, 14" | 1047.67 | 88.14 | 1135.81
1 | 148J | Line 20 TRPI Ph2 | TRANSMISSION | 35501 | ANCHOR | ANCHOR SCREW, 14" | 30928.33 | 0.28 | 30928.61
1 | 148J | Line 20 TRPI Ph2 | TRANSMISSION | 35601 | INSULATOR HEND HPI35VT | INSULATORS VISE TOP, 35KV | 53659.29 | 0.49 | 53659.78
1 | 148J | Line 20 TRPI Ph2 | DISTRIBUTION | 36501 | WIRE 336/400 MCM | WIRE AAC BARE, 336.4MCM | 15272.98 | 0.14 | 15273.12
1 | 148J | Line 20 TRPI Ph2 | TRANSMISSION | 35501 | CROSSARM FIBERGLASS 96" | ARM FIBERGLASS 8' TANGENT | 120481.56 | 1.1 | 120482.66
1 | 148J | Line 20 TRPI Ph2 | TRANSMISSION | 35501 | CROSSARM DEADEND 96" | ARM FIBERGLASS 8' DEADEND | 21979.54 | 0.2 | 21979.74
1 | 148J | Line 20 TRPI Ph2 | DISTRIBUTION | 36401 | CROSSARM DEADEND 96" | ARM FIBERGLASS 8' DEADEND | 14653.03 | 0.13 | 14653.16
1 | 148J | Line 20 TRPI Ph2 | TRANSMISSION | 35501 | POLE 55' FULLY OWNED | POLES, 55' CLASS 1 | 35247.09 | 0.32 | 35247.41
1 | 148J | Line 20 TRPI Ph2 | TRANSMISSION | 35501 | ANCHOR LOG | ANCHOR LOG, 8' | 12541.16 | 0.11 | 12541.27
1 | 148J | Line 20 TRPI Ph2 | TRANSMISSION | 35501 | POLE BAND | BAND POLE, CONNECTING LINK | 5681.88 | 0.05 | 5681.93
1 | 148J | Line 20 TRPI Ph2 | DISTRIBUTION | 36501 | ARRESTER 27KV | ARRESTER, ARM, 27KV | 9551.75 | 0.09 | 9551.84
1 | 148J | Line 20 TRPI Ph2 | DISTRIBUTION | 36401 | POLE 45' FULLY OWNED | POLES, 45' CLASS 2 | 99531.22 | 0.91 | 99532.13
1 | 148K | Line 21 TRPI Ph 4 | TRANSMISSION | 35601 | WIRE NO 2 COPPERWELD | WIRE COPPERWELD, #2 | 42176.62 | 0 | 42176.62
1 | 148K | Line 21 TRPI Ph 4 | TRANSMISSION | 35501 | ROCK BOLT ANCHOR | ANCHOR ROCK, 30" x 2.25" | 32355.67 | 0 | 32355.67
1 | 148K | Line 21 TRPI Ph 4 | TRANSMISSION | 35601 | CLAMP DEADEND | CLAMP DE STRAIN, 4/0 - 477 ACSR | 8129.93 | 0 | 8129.93
1 | 148K | Line 21 TRPI Ph 4 | TRANSMISSION | 35501 | POLE 70' FULLY OWNED | POLES, 70' CLASS 1 | 331491.19 | 0 | 331491.19
1 | 148K | Line 21 TRPI Ph 4 | TRANSMISSION | 35501 | ANCHOR | ANCHOR SCREW, 14" | 30588.9 | 0 | 30588.9
1 | 148K | Line 21 TRPI Ph 4 | TRANSMISSION | 35501 | BRACKET POST TYPE 46KV INS | BRACKET POLE TOP, FOR POST TYPE 46KV INSULATOR | 868.67 | 0 | 868.67
1 | 148K | Line 21 TRPI Ph 4 | TRANSMISSION | 35601 | INSULATOR 46KV POST TYPE | INSULATORS LINE POST, 46KV | 7566.9 | 0 | 7566.9
1 | 148K | Line 21 TRPI Ph 4 | TRANSMISSION | 35601 | INSULATOR 69KV POST | INSULATORS DEADEND, 69KV | 73479.8 | 0 | 73479.8
1 | 148K | Line 21 TRPI Ph 4 | TRANSMISSION | 35501 | POLE 55' FULLY OWNED | POLES, 55' CLASS 1 | 191731.34 | 0 | 191731.34
1 | 148K | Line 21 TRPI Ph 4 | TRANSMISSION | 35601 | CLAMP SUSPENSION | CLAMP, CUSHION GRIP SUSPENSION | 133843.92 | 0 | 133843.92
1 | 148K | Line 21 TRPI Ph 4 | TRANSMISSION | 35601 | YOKES VARIOUS | PLATE YOKE, 40,000# | 26979.86 | 0 | 26979.86
1 | 148K | Line 21 TRPI Ph 4 | TRANSMISSION | 35501 | POLE 60' FULLY OWNED | POLES, 60' CLASS 1 | 155769.78 | 0 | 155769.78
1 | 148K | Line 21 TRPI Ph 4 | TRANSMISSION | 35501 | POLE BAND | BAND POLE, CONNECTING LINK | 37775.61 | 0 | 37775.61
1 | 148L | Line 22 ROW Rebuild | TRANSMISSION | 35501 | POLE 50' FULLY OWNED | POLES, 50' CLASS H1 | 91047.27 | 3.59 | 91050.86
1 | 148L | Line 22 ROW Rebuild | TRANSMISSION | 35501 | POLE BAND | BAND POLE, CONNECTING LINK | 17866.14 | 0.71 | 17866.85
1 | 148L | Line 22 ROW Rebuild | TRANSMISSION | 35601 | INSULATOR HEND HPI35VT | INSULATORS VISE TOP, 35KV | 11550.77 | 0.46 | 11551.23
1 | 148L | Line 22 ROW Rebuild | TRANSMISSION | 35501 | BRACKET ANTISWAY HENDRIX | BRACKET HENDRIX, 24" ANTI-SWAY | 899.54 | 0.04 | 899.58
1 | 148L | Line 22 ROW Rebuild | TRANSMISSION | 35601 | ARRESTER 27KV | ARRESTER, ARM, 27KV | 8403.46 | 0.33 | 8403.79
1 | 148L | Line 22 ROW Rebuild | TRANSMISSION | 35501 | POLE 40' FULLY OWNED | POLES, 40' CLASS 4 | 7806.97 | 0.31 | 7807.28
1 | 148L | Line 22 ROW Rebuild | TRANSMISSION | 35501 | BRACKET TANGENT BM24 | BRACKET HENDRIX, TANGENT | 4594.03 | 0.18 | 4594.21
1 | 148L | Line 22 ROW Rebuild | TRANSMISSION | 35501 | BRACKET HENDRIX ANGLE | BRACKET HENDRIX, ANGLE | 2890.41 | 0.11 | 2890.52
1 | 148L | Line 22 ROW Rebuild | TRANSMISSION | 35501 | BRACKET STIRRUP TS1 | BRACKET HENDRIX, STIRRUP | 862.26 | 0.03 | 862.29
1 | 148L | Line 22 ROW Rebuild | TRANSMISSION | 35601 | WIRE 336/400 MCM | WIRE AAC BARE, 336.4MCM | 363.21 | 0.01 | 363.22
1 | 148L | Line 22 ROW Rebuild | TRANSMISSION | 35601 | WIRE NO 6 ALUMOWELD | WIRE MESSENGER 7#6 ALUMOWELD | 2464.97 | 0.1 | 2465.07
1 | 148L | Line 22 ROW Rebuild | TRANSMISSION | 35501 | CROSSARM FIBERGLASS 96" | ARM FIBERGLASS 8' TANGENT | 20693.13 | 0.82 | 20693.95
1 | 148L | Line 22 ROW Rebuild | TRANSMISSION | 35601 | PLATE POLE BOTTOM | PLATE SINGLE POLE EYE | 5874.65 | 0.23 | 5874.88
1 | 148L | Line 22 ROW Rebuild | TRANSMISSION | 35501 | ROCK BOLT ANCHOR | ANCHOR ROCK, 72" X 2.25" | 3094.3 | 0.12 | 3094.42
1 | 148L | Line 22 ROW Rebuild | TRANSMISSION | 35601 | CABLE HEND 556 | CABLE, HENDRIX, 556MCM | 113724.93 | 4.49 | 113729.42
1 | 148L | Line 22 ROW Rebuild | TRANSMISSION | 35601 | CLAMP DEADEND | CLAMP STRAIN, STATIC WIRE DE | 1658.67 | 0.07 | 1658.74
1 | 148L | Line 22 ROW Rebuild | TRANSMISSION | 35501 | ANCHOR | ANCHOR SCREW, 14" | 10141.2 | 0.4 | 10141.6
1 | 148Z | Line 66 TRPI | TRANSMISSION | 35501 | CROSSARM X-BRACE PAIR | "X" BRACE PAIR, 14' SPACING | 47107.42 | 0 | 47107.42
1 | 148Z | Line 66 TRPI | TRANSMISSION | 35501 | CROSSARM STEEL | ARM TANGENT GALVANIZED STEEL | 64480.21 | 0 | 64480.21
1 | 148Z | Line 66 TRPI | TRANSMISSION | 35601 | INSULATOR 115KV DE SUSP | INSULATORS DEADEND, 115KV | 14317.21 | 0 | 14317.21
1 | 148Z | Line 66 TRPI | TRANSMISSION | 35601 | CLAMP SUSPENSION | CLAMP, CUSHION GRIP SUSPENSION | 16825.21 | 0 | 16825.21
9 | 149D | Line 69012 TRPI | TRANSMISSION | 35601 | CLAMP SUSPENSION | CLAMP, CUSHION GRIP SUSPENSION | 1853.71 | 0 | 1853.71
9 | 149D | Line 69012 TRPI | TRANSMISSION | 35501 | POLE 50' FULLY OWNED | POLE 50' FULLY OWNED | 3719.87 | 0 | 3719.87
9 | 149D | Line 69012 TRPI | TRANSMISSION | 35501 | POLE 60' FULLY OWNED | POLE 60' FULLY OWNED | 7790.53 | 0 | 7790.53
9 | 149D | Line 69012 TRPI | TRANSMISSION | 35601 | INSULATOR 69KV POST | INSULATORS LINE POST, 69KV | 7349.91 | 0 | 7349.91
9 | 149D | Line 69012 TRPI | TRANSMISSION | 35601 | INSULATOR 69KV DE SUSP | INSULATORS DEADEND, 69KV | 2815.52 | 0 | 2815.52
9 | 149D | Line 69012 TRPI | TRANSMISSION | 35501 | CROSSARM 120"/128" | ARM FIBERGLASS 10' TANGENT | 2785.57 | 0 | 2785.57
9 | 149D | Line 69012 TRPI | TRANSMISSION | 35501 | BRACKET POST TYPE 46KV INS | BRACKET POLE TOP, FOR POST TYPE 46KV INSULATOR | 260.67 | 0 | 260.67
9 | 149G | Line 6903 TRPI 2023 | TRANSMISSION | 35501 | BRACKET POST TYPE 46KV INS | BRACKET POLE TOP, FOR POST TYPE 46KV INSULATOR | 527.68 | 0 | 527.68
9 | 149G | Line 6903 TRPI 2023 | TRANSMISSION | 35601 | INSULATOR 69KV POST | INSULATORS LINE POST, 69KV | 7439.2 | 0 | 7439.2
9 | 149G | Line 6903 TRPI 2023 | TRANSMISSION | 35501 | PIN 30 IN POLE TOP FG | PIN 30" FIBERGLASS POLE TOP | 501.73 | 0 | 501.73
9 | 149G | Line 6903 TRPI 2023 | TRANSMISSION | 35601 | INSULATOR 69KV DE SUSP | INSULATORS DEADEND, 69KV | 5699.49 | 0 | 5699.49
9 | 149G | Line 6903 TRPI 2023 | TRANSMISSION | 35601 | PLATE POLE BOTTOM | PLATE SINGLE POLE EYE | 4115.57 | 0 | 4115.57
9 | 149G | Line 6903 TRPI 2023 | TRANSMISSION | 35601 | CLAMP SUSPENSION | CLAMP, CUSHION GRIP SUSPENSION | 2501.65 | 0 | 2501.65
9 | 149G | Line 6903 TRPI 2023 | TRANSMISSION | 35601 | CLAMP DEADEND | CLAMP DE STRAIN, 4/0 - 477 ACSR | 4938.52 | 0 | 4938.52
9 | 149G | Line 6903 TRPI 2023 | TRANSMISSION | 35501 | CROSSARM 120"/128" | ARM FIBERGLASS 10' TANGENT | 5638.81 | 0 | 5638.81
9 | 149G | Line 6903 TRPI 2023 | TRANSMISSION | 35501 | POLE 60' FULLY OWNED | POLES, 60' CLASS 1 | 15770.37 | 0 | 15770.37
9 | 149G | Line 6903 TRPI 2023 | TRANSMISSION | 35501 | POLE 50' FULLY OWNED | POLES, 50' CLASS 1 | 15060.26 | 0 | 15060.26
9 | 149H | Line 69051 TRPI | TRANSMISSION | 35501 | POLE 45' FULLY OWNED | POLE 45' FULLY OWNED | 94234.16 | 0 | 94234.16
9 | 149H | Line 69051 TRPI | TRANSMISSION | 35601 | INSULATOR 69KV POST | INSULATOR_LINE POST 69K | 25578.61 | 0 | 25578.61
9 | 149H | Line 69051 TRPI | TRANSMISSION | 35501 | CROSSARM 120"/128" | CROSSARM 120/128 | 32313.68 | 0 | 32313.68
9 | 149H | Line 69051 TRPI | TRANSMISSION | 35601 | OLD | CLAMP SUSPENSION | 2478.9 | 0 | 2478.9
9 | 149H | Line 69051 TRPI | TRANSMISSION | 35601 | INSULATOR 69KV DE SUSP | INSULATOR_DEADEND 69KV | 19596.79 | 0 | 19596.79
9 | 149H | Line 69051 TRPI | TRANSMISSION | 35501 | OLD | BRACE CROSSARM | 5598.28 | 0 | 5598.28
9 | 149W | Line 6913 TRPI | TRANSMISSION | 35501 | CROSSARM 120"/128" | ARM FIBERGLASS 10' TANGENT | 4342.93 | 0 | 4342.93
9 | 149W | Line 6913 TRPI | DISTRIBUTION | 36501 | CUTOUT 100 AMP 15KV | CUTOUT OPEN, 100 AMP 15KV | 2999.55 | 0 | 2999.55
9 | 149W | Line 6913 TRPI | TRANSMISSION | 35501 | BRACKET POST TYPE 46KV INS | BRACKET POLE TOP, FOR POST TYPE 46KV INSULATOR | 487.68 | 0 | 487.68
9 | 149W | Line 6913 TRPI | TRANSMISSION | 35501 | CROSSARM FIBERGLASS 96" | ARM FIBERGLASS 8' TANGENT | 730.04 | 0 | 730.04
9 | 149W | Line 6913 TRPI | TRANSMISSION | 35501 | POLE 50' FULLY OWNED | POLES, 50' CLASS 1 | 13919.04 | 0 | 13919.04
9 | 149W | Line 6913 TRPI | TRANSMISSION | 35501 | CROSSARM 93"/96" | ARM WOOD, 6 PIN, 96" | 417.26 | 0 | 417.26
9 | 149W | Line 6913 TRPI | TRANSMISSION | 35601 | INSULATOR 69KV POST | INSULATORS LINE POST, 69KV | 28189.49 | 0 | 28189.49
9 | 150H | Line 6917 TRPI Phase 2 | TRANSMISSION | 35501 | POLE 65' FULLY OWNED | POLES, 65' CLASS 1 | 22229.03 | 0 | 22229.03
9 | 150H | Line 6917 TRPI Phase 2 | TRANSMISSION | 35501 | CROSSARM 120"/128" | ARM FIBERGLASS 10' TANGENT | 5254.65 | 0 | 5254.65
9 | 150H | Line 6917 TRPI Phase 2 | TRANSMISSION | 35601 | CLAMP SUSPENSION | CLAMP, CUSHION GRIP SUSPENSION | 5245.23 | 0 | 5245.23
9 | 150H | Line 6917 TRPI Phase 2 | TRANSMISSION | 35601 | INSULATOR 69KV POST | INSULATORS LINE POST, 69KV | 47140.37 | 0 | 47140.37
9 | 150H | Line 6917 TRPI Phase 2 | TRANSMISSION | 35601 | INSULATOR 69KV DE SUSP | INSULATORS DEADEND, 69KV | 21244.75 | 0 | 21244.75
9 | 150H | Line 6917 TRPI Phase 2 | TRANSMISSION | 35501 | BRACKET POST TYPE 46KV INS | BRACKET POLE TOP, FOR 46KV INSULATOR | 491.72 | 0 | 491.72
9 | 150H | Line 6917 TRPI Phase 2 | TRANSMISSION | 35501 | POLE 60' FULLY OWNED | POLES, 60' CLASS 1 | 14696 | 0 | 14696
9 | 150H | Line 6917 TRPI Phase 2 | TRANSMISSION | 35501 | POLE 70' FULLY OWNED | POLES, 70' CLASS H2 | 23455.74 | 0 | 23455.74
9 | 150H | Line 6917 TRPI Phase 2 | TRANSMISSION | 35501 | POLE 40' FULLY OWNED | POLES, 40' CLASS 4 | 10830.48 | 0 | 10830.48
9 | 150H | Line 6917 TRPI Phase 2 | TRANSMISSION | 35501 | CROSSARM DEADEND 96" | ARM FIBERGLASS 8' DEADEND | 1879.98 | 0 | 1879.98
1 | 180R | Line 2 Rebuild Phase 2 | TRANSMISSION | 35501 | POLE STEEL | 70 FT CLASS H1 DIRECT-BURY | 26067.1 | 0 | 26067.1
1 | 180R | Line 2 Rebuild Phase 2 | TRANSMISSION | 35501 | POLE STEEL | 70 FT CLASS 1 DIRECT-BURY | 62146.26 | 0 | 62146.26
1 | 180R | Line 2 Rebuild Phase 2 | TRANSMISSION | 35601 | WIRE NO 795000 | WIRE ACSR BARE, 795MCM | 945223.68 | 0 | 945223.68
1 | 180R | Line 2 Rebuild Phase 2 | TRANSMISSION | 35501 | POLE STEEL | 85 FT CLASS 1 DIRECT-BURY | 64453.58 | 0 | 64453.58
1 | 180R | Line 2 Rebuild Phase 2 | TRANSMISSION | 35501 | POLE STEEL | 85 FT CLASS H2 DIRECT-BURY | 77246.78 | 0 | 77246.78
1 | 180R | Line 2 Rebuild Phase 2 | TRANSMISSION | 35501 | POLE STEEL | 80 FT CLASS H1 DIRECT-BURY | 62146.26 | 0 | 62146.26
1 | 180R | Line 2 Rebuild Phase 2 | TRANSMISSION | 35501 | POLE STEEL | 75 FT CLASS H1 DIRECT-BURY | 1322582.39 | 0 | 1322582.39
1 | 182F | Line 5 ROW Rebuild Phase 2 | TRANSMISSION | 35501 | POLE 65' FULLY OWNED | POLES, 65' CLASS 1 | 194162.64 | 0 | 194162.64
1 | 182F | Line 5 ROW Rebuild Phase 2 | TRANSMISSION | 35501 | CROSSARM FIBERGLASS 96" | ARM FIBERGLASS 8' TANGENT | 100727.7 | 0 | 100727.7
1 | 182F | Line 5 ROW Rebuild Phase 2 | TRANSMISSION | 35501 | POLE 50' FULLY OWNED | POLES, 50' CLASS 1 | 20430.73 | 0 | 20430.73
1 | 182F | Line 5 ROW Rebuild Phase 2 | TRANSMISSION | 35501 | POLE 60' FULLY OWNED | POLES, 60' CLASS 1 | 128364.33 | 0 | 128364.33
1 | 182F | Line 5 ROW Rebuild Phase 2 | TRANSMISSION | 35601 | CLAMP DEADEND | CLAMP DE STRAIN, 4/0 - 477 ACSR | 23448.54 | 0 | 23448.54
1 | 182F | Line 5 ROW Rebuild Phase 2 | TRANSMISSION | 35601 | WIRE NO 2 COPPERWELD | WIRE COPPERWELD, #2 | 42520.91 | 0 | 42520.91
1 | 182F | Line 5 ROW Rebuild Phase 2 | TRANSMISSION | 35501 | ANCHOR LOG | ANCHOR LOG, 8' | 40601.24 | 0 | 40601.24
1 | 182F | Line 5 ROW Rebuild Phase 2 | TRANSMISSION | 35501 | CROSSARM 120"/128" | ARM FIBERGLASS 10' TANGENT | 119843.64 | 0 | 119843.64
1 | 182F | Line 5 ROW Rebuild Phase 2 | TRANSMISSION | 35601 | WIRE 559/500 | WIRE AAAC BARE, 559/500MCM | 492 | 0 | 492
1 | 182F | Line 5 ROW Rebuild Phase 2 | TRANSMISSION | 35601 | INSULATOR 69KV DE SUSP | INSULATORS DEADEND, 69KV | 20876.11 | 0 | 20876.11
1 | 182F | Line 5 ROW Rebuild Phase 2 | TRANSMISSION | 35601 | CLAMP SUSPENSION | CLAMP, CUSHION GRIP SUSPENSION | 127264.63 | 0 | 127264.63
1 | 182F | Line 5 ROW Rebuild Phase 2 | TRANSMISSION | 35501 | POLE 55' FULLY OWNED | POLES, 55' CLASS 1 | 513496.66 | 0 | 513496.66
1 | 182F | Line 5 ROW Rebuild Phase 2 | TRANSMISSION | 35501 | ANCHOR | ANCHOR, TRI-HELIX COMBINATION | 33609.63 | 0 | 33609.63
1 | 182F | Line 5 ROW Rebuild Phase 2 | TRANSMISSION | 35601 | INSULATOR 69KV POST | INSULATORS HORZ. LINE POST, 69KV | 20184.03 | 0 | 20184.03
1 | 182F | Line 5 ROW Rebuild Phase 2 | TRANSMISSION | 35501 | POLE BAND | BAND POLE, CONNECTING LINK | 12734.81 | 0 | 12734.81
9 | 186Q | Line 6903 & 6905 ALT Scheme | TRANSMISSION | 35601 | WIRE ALUM 1/0 | WIRE AAAC BARE, 1/0 | 2657.76 | 0 | 2657.76
9 | 186Q | Line 6903 & 6905 ALT Scheme | TRANSMISSION | 35501 | BRACKET POST TYPE 46KV INS | BRACKET ANGLE, FOR 46KV INSULATOR | 343.29 | 0 | 343.29
9 | 186Q | Line 6903 & 6905 ALT Scheme | TRANSMISSION | 35301 | FUSES | FUSE, POWER 65A | 8082.81 | 0 | 8082.81
9 | 186Q | Line 6903 & 6905 ALT Scheme | TRANSMISSION | 35301 | OLD | Cleaveland Price Motor Operator | 28376.09 | 0 | 28376.09
9 | 186Q | Line 6903 & 6905 ALT Scheme | TRANSMISSION | 35601 | INSULATOR 69KV POST | INSULATORS LINE POST, 69KV | 3226.39 | 0 | 3226.39
9 | 186Q | Line 6903 & 6905 ALT Scheme | TRANSMISSION | 35301 | WIRE COPPER 4/0 | WIRE BARE CU, 4/0 | 18206.93 | 0 | 18206.93
9 | 186Q | Line 6903 & 6905 ALT Scheme | TRANSMISSION | 35302 | OLD | SEL Fault Indicators | 51797.95 | 0 | 51797.95
9 | 186Q | Line 6903 & 6905 ALT Scheme | TRANSMISSION | 35501 | CROSSARM 120"/128" | ARM FIBERGLASS 10' TANGENT | 5706.3 | 0 | 5706.3
9 | 186Q | Line 6903 & 6905 ALT Scheme | TRANSMISSION | 35601 | OLD | SWITCH, VERTICAL, 69KV | 24139.04 | 0 | 24139.04
9 | 186Q | Line 6903 & 6905 ALT Scheme | TRANSMISSION | 35601 | CLAMP DEADEND | CLAMP DE STRAIN, 4/0 - 477 ACSR | 5354.6 | 0 | 5354.6
9 | 186Q | Line 6903 & 6905 ALT Scheme | DISTRIBUTION | 36501 | SWITCH DISCONNECT 15KV | SWITCH HOOKSTICK, 15KV | 4541.45 | 0 | 4541.45
9 | 186Q | Line 6903 & 6905 ALT Scheme | TRANSMISSION | 35501 | ANCHOR | ANCHOR SCREW, 14" | 2014.68 | 0 | 2014.68
9 | 186Q | Line 6903 & 6905 ALT Scheme | TRANSMISSION | 35601 | INSULATOR 69KV DE SUSP | INSULATORS DEADEND, 69KV | 5932.49 | 0 | 5932.49
9 | 186Q | Line 6903 & 6905 ALT Scheme | TRANSMISSION | 35601 | OLD | SWITCH VERTICAL AIRBREAK, 69KV | 26363.62 | 0 | 26363.62
9 | 186Q | Line 6903 & 6905 ALT Scheme | TRANSMISSION | 35601 | WIRE NO 3/0 ALUM | WIRE ACSR BARE, 3/0 | 320.31 | 0 | 320.31
9 | 186Q | Line 6903 & 6905 ALT Scheme | TRANSMISSION | 35501 | CROSSARM DEADEND 96" | ARM FIBERGLASS 8' DEADEND | 1749.9 | 0 | 1749.9
9 | 186Q | Line 6903 & 6905 ALT Scheme | TRANSMISSION | 35501 | CROSSARM FIBERGLASS 96" | ARM FIBERGLASS 8' TANGENT | 1370.31 | 0 | 1370.31
9 | 186Q | Line 6903 & 6905 ALT Scheme | TRANSMISSION | 35501 | POLE 60' FULLY OWNED | POLES, 60' CLASS 1 | 13679.25 | 0 | 13679.25
9 | 186Q | Line 6903 & 6905 ALT Scheme | TRANSMISSION | 35601 | OLD | SWITCH HOOKSTICK, 69KV | 9103.87 | 0 | 9103.87
1 | 325E | Nicolin- M/O sw at 107 & 108 | TRANSMISSION | 35302 | NONE | SEL-3505-3 R-TAC AND CONTROL CABINET | 9751.18 | 2.74 | 9753.92
1 | 325E | Nicolin- M/O sw at 107 & 108 | TRANSMISSION | 35301 | OLD | 46KV Alduti-Rupter Switch | 138319.13 | 38.86 | 138357.99
1 | 325E | Nicolin- M/O sw at 107 & 108 | TRANSMISSION | 35301 | OLD | FAULT LOCATORS - SMART NAVIGATOR 1 HVD | 23325.76 | 6.55 | 23332.31
1 | 341E | Line 50 Smart Fault Detection | TRANSMISSION | 35302 | NONE | SEL-3505 RTAC SCADA DEVICE | 13155.68 | 0 | 13155.68
1 | 341E | Line 50 Smart Fault Detection | TRANSMISSION | 35302 | NONE | POWER DELIVERY FAULT LOCATOR W/ COMM BOX DNP3-ST | 25771.63 | 0 | 25771.63
1 | 341E | Line 50 Smart Fault Detection | TRANSMISSION | 35302 | NONE | RADIO, SD4 MANAGED SERIAL RADIO | 14235.87 | 0 | 14235.87
1 | 341E | Line 50 Smart Fault Detection | TRANSMISSION | 35302 | NONE | Communications SCADA Box | 7538.43 | 0 | 7538.43
1 | 341E | Line 50 Smart Fault Detection | TRANSMISSION | 35302 | NONE | POWER SUPPLY, 12V | 1763.84 | 0 | 1763.84
1 | 341E | Line 50 Smart Fault Detection | TRANSMISSION | 35501 | POLE 45' FULLY OWNED | POLES, 45' CLASS 3 | 5702.05 | 0 | 5702.05
1 | 341E | Line 50 Smart Fault Detection | TRANSMISSION | 35501 | CROSSARM 93"/96" | ARM WOOD, 6 PIN, 96" | 178 | 0 | 178
1 | 341E | Line 50 Smart Fault Detection | TRANSMISSION | 35302 | NONE | DIGI Communication Device | 7235.62 | 0 | 7235.62
1 | 341E | Line 50 Smart Fault Detection | TRANSMISSION | 35601 | OLD | FAULT LOCATORS | 27606.69 | 0 | 27606.69
9 | 419C | Ashland Protection B Relays | TRANSMISSION | 35301 | BRACKET XPT 60 POLE TOP EXT | WIRE_SWITCH BOARD, #14, 7 STR, 600V | 588276.43 | 0 | 588276.43
9 | 419C | Ashland Protection B Relays | TRANSMISSION | 35301 | OLD | SERIES 31 LSR RELAY (RECLOSER CONTROL SWITCH) | 9947.17 | 0 | 9947.17
9 | 419C | Ashland Protection B Relays | TRANSMISSION | 35302 | OLD | SEL-2241 RTAC | 20873.82 | 0 | 20873.82
9 | 419C | Ashland Protection B Relays | TRANSMISSION | 35301 | OLD | SERIES 24P LOR RELAY | 12082.92 | 0 | 12082.92
9 | 419C | Ashland Protection B Relays | TRANSMISSION | 35301 | OLD | SEL-311L LINE CURRENT DIFFERENTIAL RELAY | 78985.2 | 0 | 78985.2
9 | 419C | Ashland Protection B Relays | TRANSMISSION | 35301 | OLD | SATEC PM135EH METER | 9760.01 | 0 | 9760.01
9 | 419C | Ashland Protection B Relays | TRANSMISSION | 35301 | OLD | SEL-751A RELAY | 8264.52 | 0 | 8264.52
9 | 419C | Ashland Protection B Relays | TRANSMISSION | 35301 | OLD | UTS3 TEST SWITCH | 20873.82 | 0 | 20873.82
9 | 419C | Ashland Protection B Relays | TRANSMISSION | 35302 | OLD | SEL-3610 PORT SERVER | 7564 | 0 | 7564
9 | 419C | Ashland Protection B Relays | TRANSMISSION | 35301 | OLD | SEL-421 RELAY | 101299.41 | 0 | 101299.41
9 | 419C | Ashland Protection B Relays | TRANSMISSION | 35301 | OLD | SEL-487 RELAY | 72176.81 | 0 | 72176.81
9 | 419C | Ashland Protection B Relays | TRANSMISSION | 35301 | BRACKET XPT 60 POLE TOP EXT | BRACKET POLE TOP, 46KV INS, VERT. | 882.42 | 0 | 882.42
9 | 419C | Ashland Protection B Relays | TRANSMISSION | 35301 | OLD | KNIFE SWITCH ASSEMBLIES | 15230.33 | 0 | 15230.33
9 | 419C | Ashland Protection B Relays | TRANSMISSION | 35302 | OLD | SEL-2407 SATELLITE CLOCK | 7241.29 | 0 | 7241.29
9 | 419C | Ashland Protection B Relays | TRANSMISSION | 35302 | OLD | SEL-2244-5 OUTPUT MODULE | 5926.85 | 0 | 5926.85
1 | 492E | Line 2 TRPI | TRANSMISSION | 35501 | POLE 55' FULLY OWNED | POLES, 55' CLASS 1 | 4049.98 | 0 | 4049.98
1 | 492E | Line 2 TRPI | TRANSMISSION | 35501 | POLE STEEL | 75' / H2 STEEL POLE | 137335.22 | 0 | 137335.22
1 | 492E | Line 2 TRPI | TRANSMISSION | 35501 | POLE 70' FULLY OWNED | POLES, 70' CLASS H1 | 42012.96 | 0 | 42012.96
1 | 492E | Line 2 TRPI | TRANSMISSION | 35501 | ANCHOR LOG | ANCHOR, TRI-HELIX COMBINATION | 21615.16 | 0 | 21615.16
1 | 492E | Line 2 TRPI | TRANSMISSION | 35501 | BRACKET POST TYPE 46KV INS | BRACKET POLE TOP, FOR 46KV INSULATOR | 220.19 | 0 | 220.19
1 | 492E | Line 2 TRPI | TRANSMISSION | 35501 | POLE STEEL | 55' / 1 STEEL POLE | 49782.5 | 0 | 49782.5
1 | 492E | Line 2 TRPI | TRANSMISSION | 35601 | WIRE NO 2 COPPERWELD | WIRE COPPERWELD, #2 | 1984.64 | 0 | 1984.64
1 | 492E | Line 2 TRPI | TRANSMISSION | 35501 | ANCHOR | ANCHOR LOG, 8' | 3230.68 | 0 | 3230.68
1 | 492E | Line 2 TRPI | TRANSMISSION | 35501 | POLE BAND | BAND POLE, CONNECTING LINK | 435.24 | 0 | 435.24
1 | 492E | Line 2 TRPI | TRANSMISSION | 35601 | CLAMP DEADEND | CLAMP DE STRAIN, 336.4 - 1113.0 ACSR | 13051.49 | 0 | 13051.49
1 | 492E | Line 2 TRPI | TRANSMISSION | 35601 | CLAMP SUSPENSION | CLAMP, CUSHION GRIP SUSPENSION | 45148.42 | 0 | 45148.42
1 | 492E | Line 2 TRPI | TRANSMISSION | 35501 | POLE 65' FULLY OWNED | POLES, 65' CLASS H3 | 29861.79 | 0 | 29861.79
1 | 492E | Line 2 TRPI | TRANSMISSION | 35601 | WIRE 7 NO 8 ALUMWELD | WIRE ALUMOWELD BARE, 7#8 | 9936.32 | 0 | 9936.32
1 | 492E | Line 2 TRPI | TRANSMISSION | 35501 | POLE STEEL | 70' / H1 STEEL POLE | 586215.32 | 0 | 586215.32
1 | 492E | Line 2 TRPI | TRANSMISSION | 35601 | INSULATOR 10" SUSPENSION | INSULATORS, SUSPENSION PORCELAIN, 10 | 7726.49 | 0 | 7726.49
1 | 492E | Line 2 TRPI | TRANSMISSION | 35601 | INSULATOR 46KV POST TYPE | INSULATORS LINE POST, 46KV | 9590.22 | 0 | 9590.22
1 | 492E | Line 2 TRPI | TRANSMISSION | 35501 | CROSSARM 120"/128" | ARM FIBERGLASS 10' TANGENT | 7058.95 | 0 | 7058.95
1 | 492E | Line 2 TRPI | TRANSMISSION | 35501 | CROSSARM X-BRACE PAIR | X-BRACE PAIR, 10' | 3653.39 | 0 | 3653.39
1 | 492E | Line 2 TRPI | TRANSMISSION | 35501 | POLE STEEL | 65' / H1 STEEL POLE | 303155.57 | 0 | 303155.57
1 | 492E | Line 2 TRPI | TRANSMISSION | 35501 | POLE STEEL | 60' / H1 STEEL POLE | 94413.41 | 0 | 94413.41
1 | 492E | Line 2 TRPI | TRANSMISSION | 35501 | POLE 75' FULLY OWNED | POLES, 75' CLASS H2 | 18594.25 | 0 | 18594.25
1 | 492E | Line 2 TRPI | TRANSMISSION | 35501 | ROCK BOLT ANCHOR | ANCHOR ROCK, 72" X 2.25" | 3075.54 | 0 | 3075.54
1 | 492E | Line 2 TRPI | TRANSMISSION | 35501 | POLE 50' FULLY OWNED | POLES, 50' CLASS 1 | 15710.99 | 0 | 15710.99
1 | 492E | Line 2 TRPI | TRANSMISSION | 35501 | POLE STEEL | 70' / H2 STEEL POLE | 75788.12 | 0 | 75788.12
1 | 492E | Line 2 TRPI | TRANSMISSION | 35601 | INSULATOR 69KV POST | INSULATORS HORZ. LINE POST, 69KV | 58980.92 | 0 | 58980.92
1 | 492E | Line 2 TRPI | TRANSMISSION | 35601 | PLATE POLE BOTTOM | PLATE DEAD-END TEE | 11592.2 | 0 | 11592.2
1 | 492E | Line 2 TRPI | TRANSMISSION | 35501 | POLE 60' FULLY OWNED | POLES, 60' CLASS 1 | 6580.71 | 0 | 6580.71
1 | 492E | Line 2 TRPI | TRANSMISSION | 35501 | CROSSARM STEEL | CROSSARM, STEEL | 10001.45 | 0 | 10001.45
1 | 492E | Line 2 TRPI | TRANSMISSION | 35601 | INSULATOR 69KV DE SUSP | INSULATORS DEADEND, 69KV | 11177.99 | 0 | 11177.99
1 | 493E | Line 21 TRPI Phase 3 | TRANSMISSION | 35501 | POLE 65' FULLY OWNED | POLE TRANS 65' | 0 | 16.99 | 16.99
1 | 493E | Line 21 TRPI Phase 3 | TRANSMISSION | 35601 | OLD | WIRE 20M | 0 | 1362.31 | 1362.31
1 | 493E | Line 21 TRPI Phase 3 | TRANSMISSION | 35601 | CLAMP SUSPENSION | CLAMP SUS | 0 | 134.29 | 134.29
1 | 493E | Line 21 TRPI Phase 3 | TRANSMISSION | 35601 | INSULATOR 69KV POST | INSULATOR 69KV | 0 | 36.43 | 36.43
1 | 493E | Line 21 TRPI Phase 3 | TRANSMISSION | 35501 | POLE 60' FULLY OWNED | POLE TRANS 60' | 0 | 40.68 | 40.68
1 | 493E | Line 21 TRPI Phase 3 | TRANSMISSION | 35501 | ANCHOR | ROD ANCHOR 3'-6" | 0 | 27.27 | 27.27
1 | 493E | Line 21 TRPI Phase 3 | TRANSMISSION | 35501 | ANCHOR | ROD ANCHOR 7'-0" | 0 | 27.27 | 27.27
1 | 493E | Line 21 TRPI Phase 3 | TRANSMISSION | 35501 | POLE 50' FULLY OWNED | POLE TRANS 50' | 0 | 62.22 | 62.22
1 | 493E | Line 21 TRPI Phase 3 | TRANSMISSION | 35601 | CLAMP DEADEND | CLAMP DEADEND | 0 | 5.65 | 5.65
1 | 493E | Line 21 TRPI Phase 3 | TRANSMISSION | 35501 | ROCK BOLT ANCHOR | ROCK ANCHOR 53" | 0 | 12.49 | 12.49
1 | 493E | Line 21 TRPI Phase 3 | TRANSMISSION | 35501 | POLE 55' FULLY OWNED | POLE TRANS 55' | 0 | 62.85 | 62.85
1 | 493E | Line 21 TRPI Phase 3 | TRANSMISSION | 35501 | ANCHOR | ANCHOR 14" | 0 | 72.73 | 72.73
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35002 | NONE | EASMENT FROM DUANE V ELDRIDGE FOR 69201 | 0 | -469.25 | -469.25
9 | 494E | Line 69201 ROW Rebuild | DISTRIBUTION | 36501 | WIRE COPPER 4/0 | WIRE BARE CU, 4/0, 19STR | 0 | -204.25 | -204.25
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35501 | POLE 60' FULLY OWNED | POLE TRANS 60' | 0 | -2188.8 | -2188.8
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35601 | CABLE HENDRIX 336400 MCM | CABLE HENDRIX, 336/400 | 0 | -2328.13 | -2328.13
9 | 494E | Line 69201 ROW Rebuild | DISTRIBUTION | 36901 | CABLE 1/0 3/W ALUM | CABLE ALUM SERVICE, 1/0 3/W | 0 | -176 | -176
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35002 | NONE | EASMENT FROM JOHN A WOTTON FOR 69201 | 0 | -469.25 | -469.25
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35601 | INSULATOR 69KV POST | INSULATOR 69KV POST | 0 | -734.43 | -734.43
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35601 | OLD | FUSE, POWER 100AMP, 69VK | 0 | -626.47 | -626.47
9 | 494E | Line 69201 ROW Rebuild | DISTRIBUTION | 36901 | CABLE 1/0 4/W | CABLE ALUM SERVICE, 1/0 4/W | 0 | -245.18 | -245.18
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35002 | NONE | EASMENT FROM ROBIN J TAYLOR FOR 69201 | 0 | -351.95 | -351.95
9 | 494E | Line 69201 ROW Rebuild | DISTRIBUTION | 36501 | WIRE ALUM NO 4 | WIRE ASCR #4 | 0 | -7.61 | -7.61
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35002 | NONE | EASMENT FROM TRAVIS WADE KEAR FOR 69201 | 0 | -703.94 | -703.94
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35501 | POLE 50' FULLY OWNED | POLE TRANS 50' | 0 | -111.61 | -111.61
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35601 | CLAMP SUSPENSION | CLAMP, CUSHION GRIP SUSP | 0 | -870.85 | -870.85
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35601 | WIRE 336/400 MCM | WIRE AAC BARE, 336.4MCM, 19 STR | 0 | -3090.77 | -3090.77
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35501 | CROSSARM 93"/96" | ARM FIBERGLASS EXTRA H/D, 8' TANGENT | 0 | -267.43 | -267.43
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35501 | ROCK BOLT ANCHOR | ANCHOR ROCK, 96" | 0 | -89.54 | -89.54
9 | 494E | Line 69201 ROW Rebuild | DISTRIBUTION | 36501 | ARRESTER 10KV | ARRESTERS ARM, 10KV POLYMER | 0 | -42.67 | -42.67
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35002 | NONE | EASMENT FROM DALTON SCOVIL FOR 69201 | 0 | -234.63 | -234.63
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35501 | POLE BAND | BAND POLE, CONNECTING LINK | 0 | -250.7 | -250.7
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35501 | OLD | POLE 80' | 0 | -896.41 | -896.41
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35002 | NONE | EASMENT FROM THE NORTHERN LIGHT FOR 69201 | 0 | -586.58 | -586.58
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35501 | CROSSARM 120"/128" | ARM FIBERGLASS EXTRA H/D, 10' TANGENT | 0 | -599.02 | -599.02
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35501 | ANCHOR | ANCHOR TRI-HELIX | 0 | -65.22 | -65.22
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35601 | WIRE 3/0 ALUM | WIRE ACSR BARE, 3/0 | 0 | -25199.4 | -25199.4
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35501 | BRACKET XPT 60 POLE TOP EXT | BRACKET POLE TOP, 46KV INS, VERT. | 0 | -403.33 | -403.33
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35601 | CLAMP DEADEND | CLAMP DE STRAIN | 0 | -496.55 | -496.55
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35002 | NONE | EASMENT FROM SHANE KINGSBURY FOR 69201 | 0 | -1173.15 | -1173.15
9 | 494E | Line 69201 ROW Rebuild | DISTRIBUTION | 36501 | WIRE ALUM 2 | WIRE ACSR BARE, #2 | 0 | -7.98 | -7.98
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35501 | POLE 45' FULLY OWNED | POLE TRANS 45' | 0 | -634.59 | -634.59
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35501 | ANCHOR | ANCHOR SCREW, 14" | 0 | -1271.85 | -1271.85
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35002 | NONE | EASMENT FROM NORTHERN DISPATCH FOR 69201 | 0 | -117.32 | -117.32
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35002 | NONE | EASMENT FROM DARRELL WILSON FOR 69201 | 0 | -117.32 | -117.32
9 | 494E | Line 69201 ROW Rebuild | DISTRIBUTION | 36501 | CUTOUT 100 AMP 15KV | CUTOUT LOADBREAK 100 AMP 15KV | 0 | -187.29 | -187.29
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35601 | WIRE ALUM 1/0 | WIRE AAAC BARE, 1/0 | 0 | -757.85 | -757.85
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35601 | OLD | SWITCH HORZ, HOOKSTICK OPERATED, 15KV | 0 | -996.23 | -996.23
9 | 494E | Line 69201 ROW Rebuild | DISTRIBUTION | 36901 | CABLE NO 2 3/W ALUM | CABLE ALUM SERVICE, # 2 - 3/W | 0 | -98.05 | -98.05
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35501 | POLE 75' FULLY OWNED | POLE 75' | 0 | -497.12 | -497.12
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35501 | BRACKET STANDOFF | BRACKET STANDOFF, FIBERGLASS | 0 | -124.72 | -124.72
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35501 | POLE 70' FULLY OWNED | POLE TRANS 70' | 0 | -1084.17 | -1084.17
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35501 | POLE 40' FULLY OWNED | POLE TRANS 40' | 0 | -1323.15 | -1323.15
9 | 494E | Line 69201 ROW Rebuild | TRANSMISSION | 35501 | POLE 65' FULLY OWNED | POLE TRANS 65' | 0 | -1644.76 | -1644.76
1 | 495E | Line 5 TRPI | TRANSMISSION | 35501 | ANCHOR | RODS ANCHOR 3'-6 | 32877.47 | 31.91 | 32909.38
1 | 495E | Line 5 TRPI | TRANSMISSION | 35601 | OLD | WIRE GUY 20M | 534186.15 | 518.38 | 534704.53
1 | 495E | Line 5 TRPI | TRANSMISSION | 35501 | POLE 50' FULLY OWNED | POLE TRANS 50' | 76724.63 | 74.46 | 76799.09
1 | 495E | Line 5 TRPI | TRANSMISSION | 35501 | POLE 50' FULLY OWNED | POLE BAND CONNECTING LINK | 138104.34 | 134.03 | 138238.37
1 | 495E | Line 5 TRPI | TRANSMISSION | 35501 | ANCHOR | ANCHOR TRI-HELIX | 32877.47 | 31.91 | 32909.38
1 | 495E | Line 5 TRPI | TRANSMISSION | 35601 | CLAMP SUSPENSION | CLAMP CUSHION GRIP SUSP. | 137552.75 | 133.49 | 137686.24
1 | 495E | Line 5 TRPI | TRANSMISSION | 35601 | INSULATOR 46KV POST TYPE | INSULATOR 46KV | 4033.32 | 3.91 | 4037.23
1 | 495E | Line 5 TRPI | TRANSMISSION | 35501 | POLE 55' FULLY OWNED | POLE TRANS 55' | 192138.98 | 186.46 | 192325.44
1 | 495E | Line 5 TRPI | TRANSMISSION | 35601 | WIRE ALUM 2 | WIRE #2 | 9135.6 | 8.87 | 9144.47
1 | 495E | Line 5 TRPI | TRANSMISSION | 35601 | INSULATOR 69KV POST | INSULATOR 69KV POST | 53914.65 | 52.33 | 53966.98
1 | 495E | Line 5 TRPI | TRANSMISSION | 35501 | ANCHOR | RODS ANCHOR 7'-0 | 32877.47 | 31.91 | 32909.38
1 | 495E | Line 5 TRPI | TRANSMISSION | 35501 | ROCK BOLT ANCHOR | ANCHOR ROCK 72" | 5470.65 | 5.31 | 5475.96
1 | 495E | Line 5 TRPI | TRANSMISSION | 35501 | POLE 65' FULLY OWNED | POLE TRANS 65' | 25124.04 | 24.39 | 25148.43
1 | 495E | Line 5 TRPI | TRANSMISSION | 35601 | CLAMP DEADEND | CLAMP DE STRAIN 336.4 | 9752.03 | 9.47 | 9761.5
1 | 495E | Line 5 TRPI | TRANSMISSION | 35501 | BRACKET DEADEND | BRACKET 18" | 12303.81 | 11.95 | 12315.76
1 | 495E | Line 5 TRPI | TRANSMISSION | 35501 | POLE 60' FULLY OWNED | POLE TRANS 60' | 93615.49 | 90.85 | 93706.34
9 | 537E | Line 69053 TRPI | TRANSMISSION | 35601 | INSULATOR 69KV POST | INSULATOR 69 KV POST | 0 | 140.84 | 140.84
9 | 537E | Line 69053 TRPI | TRANSMISSION | 35501 | POLE 40' FULLY OWNED | POLE TRANS 40' | 0 | 44.68 | 44.68
9 | 537E | Line 69053 TRPI | TRANSMISSION | 35501 | POLE 60' FULLY OWNED | POLE TRANS 60' | 0 | 44.34 | 44.34
9 | 537E | Line 69053 TRPI | TRANSMISSION | 35501 | POLE 50' FULLY OWNED | POLE TRANS 50' | 0 | 33.91 | 33.91
9 | 537E | Line 69053 TRPI | TRANSMISSION | 35501 | POLE 55' FULLY OWNED | POLE TRANS 55' | 0 | 82.2 | 82.2
9 | 537E | Line 69053 TRPI | DISTRIBUTION | 36401 | CROSSARM 120"/128" | FIBERGLASS ARM | 0 | 10.72 | 10.72
9 | 663D | Line 69032 Rebuild | TRANSMISSION | 35601 | INSULATOR 69KV POST | INSULATORS HORZ. LINE POST, 69KV | 83758.94 | 0 | 83758.94
9 | 663D | Line 69032 Rebuild | TRANSMISSION | 35601 | PLATE POLE BOTTOM | PLATE SINGLE POLE EYE | 28961.12 | 0 | 28961.12
9 | 663D | Line 69032 Rebuild | TRANSMISSION | 35601 | WIRE NO 2 COPPERWELD | WIRE COPPERWELD, #2 | 12786.36 | 0 | 12786.36
9 | 663D | Line 69032 Rebuild | TRANSMISSION | 35501 | POLE 75' FULLY OWNED | POLES, 75' CLASS 1 | 125427.23 | 0 | 125427.23
9 | 663D | Line 69032 Rebuild | TRANSMISSION | 35501 | POLE 45' FULLY OWNED | POLES, 45' CLASS 3 | 20571.75 | 0 | 20571.75
9 | 663D | Line 69032 Rebuild | TRANSMISSION | 35501 | POLE 70' FULLY OWNED | POLES, 70' CLASS 1 | 94465.94 | 0 | 94465.94
9 | 663D | Line 69032 Rebuild | TRANSMISSION | 35501 | BRACKET POST TYPE 46KV INS | BRACKET POLE TOP, FOR 46KV INSULATOR | 1485.27 | 0 | 1485.27
9 | 663D | Line 69032 Rebuild | TRANSMISSION | 35601 | INSULATOR 69KV DE SUSP | INSULATORS DEADEND, 69KV | 22459.87 | 0 | 22459.87
9 | 663D | Line 69032 Rebuild | TRANSMISSION | 35601 | WIRE COPPER 4/0 | WIRE BARE CU, 4/0 | 16488.23 | 0 | 16488.23
9 | 663D | Line 69032 Rebuild | DISTRIBUTION | 36501 | CUTOUT 100 AMP 15KV | CUTOUT, LOADBREAK 15KV | 1740.04 | 0 | 1740.04
9 | 663D | Line 69032 Rebuild | TRANSMISSION | 35501 | POLE 55' FULLY OWNED | POLES, 55' CLASS 1 | 18212.73 | 0 | 18212.73
9 | 663D | Line 69032 Rebuild | TRANSMISSION | 35501 | POLE 50' FULLY OWNED | POLES, 50' CLASS 1 | 14130.45 | 0 | 14130.45
9 | 663D | Line 69032 Rebuild | TRANSMISSION | 35601 | CLAMP SUSPENSION | CLAMP, CUSHION GRIP SUSPENSION | 11735.96 | 0 | 11735.96
9 | 663D | Line 69032 Rebuild | TRANSMISSION | 35601 | CLAMP DEADEND | CLAMP DE STRAIN, 4/0 - 477 ACSR | 16989.91 | 0 | 16989.91
9 | 663D | Line 69032 Rebuild | TRANSMISSION | 35501 | ANCHOR | ANCHOR SCREW, 14" | 4358.5 | 0 | 4358.5
9 | 663D | Line 69032 Rebuild | TRANSMISSION | 35501 | CROSSARM 120"/128" | ARM FIBERGLASS 10' TANGENT | 3527.11 | 0 | 3527.11
1 | 712E | Line 12 TRPI | TRANSMISSION | 35601 | CLAMP SUSPENSION | CLAMP, CUSHION GRIP SUSPENSION | 121775.95 | 0 | 121775.95
1 | 712E | Line 12 TRPI | TRANSMISSION | 35501 | CROSSARM FIBERGLASS 96" | ARM FIBERGLASS 8' TANGENT | 65603.39 | 0 | 65603.39
1 | 712E | Line 12 TRPI | TRANSMISSION | 35501 | POLE 40' FULLY OWNED | POLES, 40' CLASS 2 | 7150.12 | 0 | 7150.12
1 | 712E | Line 12 TRPI | TRANSMISSION | 35501 | POLE 60' FULLY OWNED | POLES, 60' CLASS H1 | 101871.75 | 0 | 101871.75
1 | 712E | Line 12 TRPI | TRANSMISSION | 35601 | WIRE NO 2 COPPERWELD | WIRE COPPERWELD, #2 | 1245.01 | 0 | 1245.01
1 | 712E | Line 12 TRPI | TRANSMISSION | 35501 | BRACKET STANDOFF | BRACKET STANDOFF, FIBERGLASS | 1208.77 | 0 | 1208.77
1 | 712E | Line 12 TRPI | TRANSMISSION | 35601 | INSULATOR 69KV DE SUSP | INSULATORS DEADEND, 69KV | 48387.85 | 0 | 48387.85
1 | 712E | Line 12 TRPI | TRANSMISSION | 35501 | POLE 80' FULLY OWNED | POLES, 80' CLASS H2 | 51194.56 | 0 | 51194.56
1 | 712E | Line 12 TRPI | TRANSMISSION | 35501 | CROSSARM 120"/128" | ARM FIBERGLASS 10' DEADEND | 36424.96 | 0 | 36424.96
1 | 712E | Line 12 TRPI | TRANSMISSION | 35501 | POLE 50' FULLY OWNED | POLES, 50' CLASS 1 | 20846.71 | 0 | 20846.71
1 | 712E | Line 12 TRPI | TRANSMISSION | 35601 | CLAMP DEADEND | CLAMP DE STRAIN, 336.4 - 1113.0 ACSR | 16710.2 | 0 | 16710.2
1 | 712E | Line 12 TRPI | TRANSMISSION | 35501 | POLE STEEL | STEEL POLE, 75' CLASS H1 | 637007.79 | 0 | 637007.79
1 | 712E | Line 12 TRPI | TRANSMISSION | 35601 | INSULATOR 46KV POST TYPE | INSULATORS LINE POST, 46KV | 4241.71 | 0 | 4241.71
1 | 712E | Line 12 TRPI | TRANSMISSION | 35601 | WIRE NO 795000 | WIRE ACSR BARE, 795MCM | 960271.59 | 0 | 960271.59
1 | 712E | Line 12 TRPI | TRANSMISSION | 35601 | YOKES VARIOUS | PLATE YOKE, 30,000# | 2520.65 | 0 | 2520.65
1 | 712E | Line 12 TRPI | TRANSMISSION | 35501 | POLE STEEL | STEEL POLE, 80' CLASS H1 | 235087.41 | 0 | 235087.41
1 | 712E | Line 12 TRPI | TRANSMISSION | 35501 | ANCHOR LOG | ANCHOR LOG, 8' | 26556.35 | 0 | 26556.35
1 | 712E | Line 12 TRPI | TRANSMISSION | 35601 | SWITCH HORZ HOOKSTICK 38KV | SWITCH HORIZ VECTOR, 38KV | 174033.65 | 0 | 174033.65
1 | 712E | Line 12 TRPI | TRANSMISSION | 35501 | POLE 55' FULLY OWNED | POLES, 55' CLASS 1 | 35825.79 | 0 | 35825.79
1 | 712E | Line 12 TRPI | TRANSMISSION | 35501 | POLE 45' FULLY OWNED | POLES, 45' CLASS 1 | 20233.07 | 0 | 20233.07
1 | 712E | Line 12 TRPI | TRANSMISSION | 35501 | POLE 35' FULLY OWNED | POLE, 35' CLASS 1 | 6456.49 | 0 | 6456.49
1 | 712E | Line 12 TRPI | TRANSMISSION | 35601 | CLAMP STIRRUP | CLAMP STIRRUP, 336.4 - 954 | 10657.85 | 0 | 10657.85
1 | 712E | Line 12 TRPI | TRANSMISSION | 35501 | POLE STEEL | STEEL POLE, 80' CLASS H2 | 47017.48 | 0 | 47017.48
1 | 712E | Line 12 TRPI | TRANSMISSION | 35501 | POLE STEEL | STEEL POLE, 70' CLASS H1 | 195128.64 | 0 | 195128.64
1 | 712E | Line 12 TRPI | TRANSMISSION | 35501 | CROSSARM DEADEND 96" | ARM FIBERGLASS 8' DEADEND | 20478.71 | 0 | 20478.71
1 | 712E | Line 12 TRPI | TRANSMISSION | 35501 | ROCK BOLT ANCHOR | ANCHOR ROCK, 72" X 2.25" | 33440.76 | 0 | 33440.76
1 | 712E | Line 12 TRPI | TRANSMISSION | 35501 | POLE 70' FULLY OWNED | POLES, 70' CLASS H1 | 255504.46 | 0 | 255504.46
1 | 712E | Line 12 TRPI | TRANSMISSION | 35601 | PLATE POLE BOTTOM | PLATE SINGLE POLE EYE | 37029.61 | 0 | 37029.61
1 | 712E | Line 12 TRPI | TRANSMISSION | 35501 | ANCHOR | ANCHOR, TRI-HELIX COMBINATION | 34293.96 | 0 | 34293.96
1 | 712E | Line 12 TRPI | TRANSMISSION | 35601 | WIRE 336/400 MCM | WIRE, 336.4 MCM ACSR BARE | 188502.65 | 0 | 188502.65
1 | 833D | Replace TS L8 & L 9 Relay | TRANSMISSION | 35301 | OLD | SATEC PM135EH 60Hz 5 H 23DC | 0 | 58.09 | 58.09
1 | 833D | Replace TS L8 & L 9 Relay | TRANSMISSION | 35301 | OLD | SEL-2407 SATELITE-SYNCHRONIZED CLOCK | 0 | 78.65 | 78.65
1 | 833D | Replace TS L8 & L 9 Relay | TRANSMISSION | 35301 | WIRE NO 14 7STR 600V | WIRE NO 14 7STR 600V | 0 | 11.86 | 11.86
1 | 833D | Replace TS L8 & L 9 Relay | TRANSMISSION | 35301 | OLD | SEL-421 PROTECT, AUTO, CONTROL SYSTEM | 0 | 723.66 | 723.66
1 | 833D | Replace TS L8 & L 9 Relay | TRANSMISSION | 35301 | OLD | SEL-311L PROTECT, AUTOMATION SYSTEM | 0 | 558.83 | 558.83
1 | 833D | Replace TS L8 & L 9 Relay | TRANSMISSION | 35301 | WIRE NO 12 600V | WIRE NO 12 7STR 600V | 0 | 4.4 | 4.4
1 | 838E | MDI Loop - L48 | TRANSMISSION | 35301 | WIRE NO 14 600V | WIRE SWITCH BOARD, #14 | 29243.31 | 0 | 29243.31
1 | 838E | MDI Loop - L48 | TRANSMISSION | 35301 | OLD | MODULE, SEL ICON ASYNCH DATA, SEL 8053-01 | 72403.73 | 0 | 72403.73
1 | 838E | MDI Loop - L48 | TRANSMISSION | 35301 | OLD | SEL-2407 Satellite-Synchronized Clock | 29243.31 | 0 | 29243.31
9 | 874E | Line 6908 TRPI | TRANSMISSION | 35601 | CLAMP SUSPENSION | CLAMP, CUSHION GRIP SUSPENSION | 1437.96 | 0 | 1437.96
9 | 874E | Line 6908 TRPI | TRANSMISSION | 35601 | INSULATOR 69KV DE SUSP | ARRESTOR, TRANSMISSION LINE 57 KV | 3876.07 | 0 | 3876.07
9 | 874E | Line 6908 TRPI | TRANSMISSION | 35501 | POLE 55' FULLY OWNED | POLES, 55' CLASS 1 | 22315.41 | 0 | 22315.41
9 | 874E | Line 6908 TRPI | TRANSMISSION | 35601 | INSULATOR 69KV DE SUSP | INSULATORS DEADEND, 69KV | 3931.32 | 0 | 3931.32
9 | 874E | Line 6908 TRPI | TRANSMISSION | 35501 | CROSSARM STEEL | CROSSARM, STEEL | 13776.99 | 0 | 13776.99
1 | 882D | KR115 Station Service | TRANSMISSION | 35301 | OLD | AUTO TRANSFER SWITCH_PTF | 5494.15 | 0 | 5494.15
1 | 882D | KR115 Station Service | TRANSMISSION | 35301 | OLD | SSVT STAND FOOTER/COLUMN_PTF | 34620.16 | 0 | 34620.16
1 | 882D | KR115 Station Service | TRANSMISSION | 35301 | OLD | S&C 46KV FUSE SMD-1A 3E STANDARD SPEED_PTF | 4383.65 | 0 | 4383.65
1 | 882D | KR115 Station Service | TRANSMISSION | 35301 | OLD | 3-IN-PVC-SCHED-80 10' CONDUIT_PTF | 13097.93 | 0 | 13097.93
1 | 882D | KR115 Station Service | TRANSMISSION | 35301 | OLD | S&C 46KV FUSE CUTOUT - VERTICAL OFFSET_PTF | 8703.16 | 0 | 8703.16
1 | 882D | KR115 Station Service | TRANSMISSION | 35301 | OLD | 4/0 BLACK 19 STR CU 2500R WIRE_PTF | 5287.84 | 0 | 5287.84
1 | 882D | KR115 Station Service | TRANSMISSION | 35301 | OLD | CCVT STATION SERVICE TRANSFORMER_PTF | 84414.18 | 0 | 84414.18
9 | 974E | Line 6904 Rebld (Str 11 to 34) | TRANSMISSION | 35501 | POLE 65' FULLY OWNED | POLES, 65' CLASS 1 | 41987.98 | 0 | 41987.98
9 | 974E | Line 6904 Rebld (Str 11 to 34) | TRANSMISSION | 35501 | CROSSARM STEEL | CROSSARM STEEL | 105470.95 | 0 | 105470.95
9 | 974E | Line 6904 Rebld (Str 11 to 34) | TRANSMISSION | 35601 | CLAMP SUSPENSION | CLAMP, CUSHION GRIP SUSPENSION | 27888.12 | 0 | 27888.12
9 | 974E | Line 6904 Rebld (Str 11 to 34) | TRANSMISSION | 35601 | YOKES VARIOUS | PLATE YOKE, 30,000# | 4273.73 | 0 | 4273.73
9 | 974E | Line 6904 Rebld (Str 11 to 34) | TRANSMISSION | 35601 | PLATE POLE BOTTOM | PLATE SINGLE POLE EYE | 7344.84 | 0 | 7344.84
9 | 974E | Line 6904 Rebld (Str 11 to 34) | TRANSMISSION | 35501 | POLE 70' FULLY OWNED | POLES, 70' CLASS 1 | 324903.96 | 0 | 324903.96
9 | 974E | Line 6904 Rebld (Str 11 to 34) | TRANSMISSION | 35501 | CROSSARM X-BRACE PAIR | X-BRACE PAIR, 10' | 48800.94 | 0 | 48800.94
9 | 974E | Line 6904 Rebld (Str 11 to 34) | TRANSMISSION | 35601 | CLAMP DEADEND | CLAMP DE STRAIN, 336.4 - 1113.0 ACSR | 8209.83 | 0 | 8209.83
9 | 974E | Line 6904 Rebld (Str 11 to 34) | TRANSMISSION | 35901 | NONE | HARDWOOD SOLID MATS | 1145157.05 | 0 | 1145157.05
9 | 974E | Line 6904 Rebld (Str 11 to 34) | TRANSMISSION | 35601 | WIRE NO 2 COPPERWELD | WIRE COPPERWELD, #2 | 8755.44 | 0 | 8755.44
9 | 974E | Line 6904 Rebld (Str 11 to 34) | TRANSMISSION | 35601 | INSULATOR 69KV DE SUSP | INSULATORS DEADEND, 69KV | 17389.15 | 0 | 17389.15
9 | 974E | Line 6904 Rebld (Str 11 to 34) | TRANSMISSION | 35501 | POLE 40' FULLY OWNED | POLES, 40' CLASS 4 | 3409.58 | 0 | 3409.58
9 | 974E | Line 6904 Rebld (Str 11 to 34) | TRANSMISSION | 35601 | WIRE NO 795000 | WIRE ACSR BARE, 795MCM | 269523.15 | 0 | 269523.15
9 | 974E | Line 6904 Rebld (Str 11 to 34) | TRANSMISSION | 35601 | WIRE 7 NO 8 ALUMWELD | WIRE ALUMOWELD BARE, 7#8 | 26251.94 | 0 | 26251.94
9 | 974E | Line 6904 Rebld (Str 11 to 34) | TRANSMISSION | 35501 | POLE 75' FULLY OWNED | POLES, 75' CLASS H2 | 78434.81 | 0 | 78434.81
9 | 974E | Line 6904 Rebld (Str 11 to 34) | TRANSMISSION | 35501 | BRACKET DEADEND | BRACKET APPARATUS, 18" | 438.65 | 0 | 438.65
9 | 974E | Line 6904 Rebld (Str 11 to 34) | TRANSMISSION | 35501 | POLE 80' FULLY OWNED | POLES, 80' CLASS 1 | 32549.97 | 0 | 32549.97
9 | 974E | Line 6904 Rebld (Str 11 to 34) | TRANSMISSION | 35601 | INSULATOR 69KV POST | INSULATORS HORZ. LINE POST, 69KV | 4364.83 | 0 | 4364.83
9 | 974E | Line 6904 Rebld (Str 11 to 34) | TRANSMISSION | 35002 | NONE | J L DEROSIER CUSTOM BUILDING INC | 2579.31 | 0 | 2579.31
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35501 | POLE BAND | BAND POLE, CONNECTING LINK | 1026.42 | 0 | 1026.42
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35501 | ANCHOR | ANCHOR, TRI-HELIX COMBINATION | 24380.2 | 0 | 24380.2
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35501 | POLE 70' FULLY OWNED | POLES, 70' CLASS H1 | 173386.28 | 0 | 173386.28
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35501 | POLE 65' FULLY OWNED | POLES, 65' CLASS H2 | 328636.65 | 0 | 328636.65
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35601 | WIRE NO 795000 | WIRE ACSR BARE, 795MCM | 938742.66 | 0 | 938742.66
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35601 | CLAMP DEADEND | CLAMP DE STRAIN, 336.4 - 1113.0 ACSR | 18629.37 | 0 | 18629.37
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35501 | CROSSARM X-BRACE PAIR | X-BRACE PAIR, 10' | 25847.01 | 0 | 25847.01
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35601 | PLATE POLE BOTTOM | PLATE DEAD-END TEE | 10125.01 | 0 | 10125.01
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35002 | NONE | MEE HOLDINGS LLC ACCESS FOR LINE 74 | 389340.28 | 0 | 389340.28
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35501 | CROSSARM STEEL | CROSSARM, STEEL | 23586.09 | 0 | 23586.09
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35501 | POLE 55' FULLY OWNED | POLES, 55' CLASS 1 | 19101.89 | 0 | 19101.89
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35501 | CROSSARM FIBERGLASS 96" | ARM FIBERGLASS 8' TANGENT | 40420.14 | 0 | 40420.14
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35601 | INSULATOR 69KV POST | INSULATORS HORZ. LINE POST, 69KV | 43924.08 | 0 | 43924.08
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35002 | NONE | JONATHAN D PERKINS ACCESS FOR LINE 74 | 10815.01 | 0 | 10815.01
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35601 | INSULATOR 69KV DE SUSP | INSULATORS DEADEND, 69KV | 18508.58 | 0 | 18508.58
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35501 | ROCK BOLT ANCHOR | ANCHOR LOG, 8' | 15110.37 | 0 | 15110.37
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35601 | CLAMP SUSPENSION | CLAMP, CUSHION GRIP SUSPENSION | 81854.32 | 0 | 81854.32
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35002 | NONE | ROBERTA L COREY ACCESS FOR LINE 74 | 28840.05 | 0 | 28840.05
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35501 | ANCHOR LOG | ANCHOR ROCK, 72" X 2.25" | 22655.27 | 0 | 22655.27
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35601 | WIRE NO 2 COPPERWELD | WIRE COPPERWELD, #2 | 33513.11 | 0 | 33513.11
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35501 | ANCHOR | ANCHOR SCREW, 14" | 30475.25 | 0 | 30475.25
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35601 | INSULATOR 46KV POST TYPE | INSULATORS LINE POST, 46KV | 13569.81 | 0 | 13569.81
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35002 | NONE | PATRICK E DESMOND ACCESS FOR LINE 74 | 7210 | 0 | 7210
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35601 | YOKES VARIOUS | PLATE YOKE, 30,000# | 10751.85 | 0 | 10751.85
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35501 | BRACKET POST TYPE 46KV INS | BRACKET POLE TOP, FOR 46KV INSULATOR | 1038.53 | 0 | 1038.53
1 | 997E | Line 74 TRPI Ph2 | TRANSMISSION | 35501 | CROSSARM 120"/128" | ARM FIBERGLASS 10' TANGENT | 62888.26 | 0 | 62888.26