## Requirements
Version 10, Last Revised 7/1/2020
Versant Power - Southern Operating Region
Facility Interconnection Requirements for Bulk Electric Power System Assets
If you have questions about this document or would like to learn more about interconnecting with an Versant Power Bulk Electric System Asset please contact Steve Sloan, Manager of Transmission Development, phone (207) 973-2568 or by email at steve.sloan@versantpower.com
Specification of Document(s) Covering Interconnection Requirements |  | Interconnect Type
|  | Generation | Transmission | End User
Procedures for coordinated joint studies of new facilities and their impacts on the interconnected transmission systems | ISO-NE Transmission, Markets and Services Tariff Section I.3.9, Review of Market Participant's Proposed Plans | X | X | X
| ISO-NE Transmission, Markets and Services Tariff Section II, Schedule 22, Large Generator Interconnection Procedure | X
| ISO-NE Transmission, Markets and Services Tariff Section II, Schedule 23, Small Generator Interconnection Procedure | X
| ISO-NE Transmission, Markets and Services Tariff Section II, Schedule 25, Elective Transmission Upgrade Interconnection Procedure |  | X | X
| ISO-NE Planning Procedure 3, Reliability Standards for the New England Area Bulk Power Supply System | X | X | X
| ISO-NE Planning Procedure 5, Procedure for Reporting Notice of Intent to Construct or Change Facilities in Accordance with Section I.3.9 of the ISO-NE Tariff | X | X | X
| ISO-NE Planning Procedure 7, Procedures For Determining And Implementing Transmission Facility Ratings In New England | X | X | X
| Northeast Power Coordinating Council Directory 1 - Design and Operation of the Bulk Power System | X | X | X
| Northeast Power Coordinating Council Directory 1 (Appendix B) - Guidelines and Procedures for NPCC Area Transmission Reviews | X | X | X
| Northeast Power Coordinating Council Task Force for System Studies Major Projects List | X | X | X
| NERC Transmission Planning Reliability Standards (TPL-001) | X | X
Procedures for notification of new or modified facilities to others (those responsible for the reliability of the interconnected transmission systems) as soon as feasible | ISO-NE Transmission, Markets and Services Tariff Section I.3.9, Review of Market Participant's Proposed Plans | X | X | X
| ISO-NE Transmission, Markets and Services Tariff Section II, Schedule 22, Large Generator Interconnection Procedure | X
| ISO-NE Transmission, Markets and Services Tariff Section II, Schedule 23, Small Generator Interconnection Procedure | X
| ISO-NE Transmission, Markets and Services Tariff Section II, Schedule 25, Elective Transmission Upgrade Interconnection Procedure |  | X | X
| ISO-NE Planning Procedure 5, Procedure for Reporting Notice of Intent to Construct or Change Facilities in Accordance with Section I.3.9 of the ISO-NE Tariff | X | X | X
| NERC Modeling Data Reliability Standard (MOD-032) | X | X
Voltage level and MW and MVAR capacity or demand at point of connection | ISO-NE Operating Procedure No 12 - Voltage and Reactive Control | X | X | X
| ISO-NE Transmission, Markets and Services Tariff | X | X | X
Breaker duty and surge protection | IEEE Standard for Metal – Oxide Surge Arresters for AC Power Circuits (>1kV) (IEEE Std C62.11) | X | X | X
| IEEE Guide for the Application of Metal – Oxide Surge Arresters for Alternating Current Systems (IEEE Std C62.22) | X | X | X
| IEEE Application Guide for AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis (IEEE Std C37.010) | X | X | X
| ANSI Standard for AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis – Preferred Ratings and Related Required Capabilities (ANSI Std C37.06) | X | X | X
| ANSI Standard for AC High-Voltage Circuit Breakers Rated on a Symmetrical Current Basis – Specifications Guide (ANSI C37.12) | X | X | X
| ISO-NE Planning Procedure 7, Procedures For Determining And Implementing Transmission Facility Ratings In New England | X | X | X
System Protection & Coordination | ISO-NE Planning Procedure 5-5, Special Protection Systems Applications Guidelines | X | X | X
| Northeast Power Coordinating Council Directory 1 - Design and Operation of the Bulk Power System | X | X | X
| Northeast Power Coordinating Council Directory 3 - Maintenance Criteria for BPS Protection | X | X | X
| Northeast Power Coordinating Council Directory 4 - System Protection Criteria | X | X | X
| Northeast Power Coordinating Council Criteria A-10, Classification of Bulk Power System Elements | X | X | X
| NERC Critical Infrastructure Protection Reliability Standards (CIP-002 through CIP-009) | X | X
Metering and telecommunications | ISO-NE Operating Procedures No. 2 - Maintenance of Communications, Computers, Metering, and Computer Equipment | X | X | X
| ISO-NE Operating Procedures No. 18 - Metering and Telemetering Criteria | X | X | X
| MPUC Chapter 81 Residential Utility Service Standards for Credit and Collection Programs | X | X | X
| MPUC Chapter 86 Disconnection and Deposit Regulations for Nonresidential Utility Service | X | X | X
| MPUC Chapter 313 Customer Net Energy Billing | X | X | X
| MPUC Chapter 315 Small Generator Aggregation | X | X | X
| Maine Public Utilities Commission (MPUC) Chapter 320 Service Standards of Electric Utilities | X | X | X
| MPUC Chapter 322 Metering, Billing, Collections and Enrollment Interactions Among Transmission and Distribution Utilities and Competitive Electricity Providers | X | X | X
| American National Standard ANSI C12.1-2001 Code for Electricity Metering | X | X | X
Metering and telecommunications | National Electrical Safety Code | X | X | X
| Versant Power Safety Instruction Manual - Section 14 (Construction) | X | X | X
| IEEE Guide for Safety in AC Substation Grounding (IEEE Std 80) | X | X | X
| IEEE Guide for Fence Safety Clearances in Electric Supply Stations (IEEE Std 1119) | X | X | X
Insulation and insulation coordination | IEEE Standard for Insulation Coordination – Definitions, Principles and Rules (IEEE Std 1313) | X | X | X
Voltage, Reactive Power, and power factor control | ISO-NE Operating Procedure No. 12 - Voltage and Reactive Control | X | X | X
| ISO-NE Operating Procedure No. 17 – Load Power Factor Correction | X | X | X
| ISO-NE Planning Procedure 3, Reliability Standards for the New England Area Bulk Power Supply System | X | X | X
| ISO-NE Planning Procedure 5, Procedure for Reporting Notice of Intent to Construct or Change Facilities in Accordance with Section I.3.9 of the ISO-NE Tariff | X | X | X
| ISO-NE Stability Task Force Generator Ride Through Criterion | X | X | X
| ISO-NE Transmission, Markets and Services Tariff | X | X | X
| Maine Public Utilities Commision Standards for Electric Utilities (Chapter 32, MPUC Rules and Regulations) | X | X | X
| NERC Voltage & Reactive Control Reliability Standards (VAR-001 & VAR-002) | X | X
Power quality impacts | IEEE Recommended Practices and Requirements for Harmonic Control in Electric Power Systems (IEEE Std 519) | X | X | X
| IEEE Recommended Practices for Electric Power Distribution for Industrial Power Plants (IEEE Std 141) | X | X | X
| ISO-NE Stability Study Group Dynamic Stability Simulation Voltage Sag Guideline | X | X | X
Equipment Ratings | ISO-NE Planning Procedure 7, Procedures For Determining And Implementing Transmission Facility Ratings In New England | X | X | X
| NERC Facility Ratings Reliability Standards (FAC-008 & FAC-009) | X | X
Synchronizing of facilities | Northeast Power Coordinating Council Guide B-01 - Guide for the Application of Autoreclosing to the Bulk Power System | X | X | X
Maintenance coordination | ISO-NE Operating Procedure No 3 - Transmission Outage Scheduling | X | X | X
| ISO-NE Transmission, Markets and Services Tariff Section II, Schedule 22, Large Generator Interconnection Procedure | X
| ISO-NE Transmission, Markets and Services Tariff Section II, Schedule 23, Small Generator Interconnection Procedure | X
| ISO-NE Transmission, Markets and Services Tariff Section II, Schedule 25, Elective Transmission Upgrade Interconnection Procedure |  | X | X
| New England Regional Transmission Organization, Transmission Operating Agreement Schedule 3.11 | X | X | X
Operation issues (abnormal frequency and voltages) | ISO-NE Operating Procedure No. 4 - Action During a Capacity Deficiency | X | X | X
| ISO-NE Operating Procedure No. 7 - Action in an Emergency | X | X | X
| Northeast Power Coordinating Council Directory 12 - UFLS Program Requirements | X | X
| NERC UFLS & UVLS Program Reliability Standards (PRC-006-NPCC, PRC-006 & PRC-010) | X | X
Inspection requirements for existing or new facilities | ISO-NE Transmission, Markets and Services Tariff Section II, Schedule 22, Large Generator Interconnection Procedure | X
| ISO-NE Transmission, Markets and Services Tariff Section II, Schedule 23, Small Generator Interconnection Procedure | X
| ISO-NE Transmission, Markets and Services Tariff Section II, Schedule 25, Elective Transmission Upgrade Interconnection Procedure |  | X | X
Communications and procedures during normal and emergency operating conditions | All standing ISO and NPCC Operational Procedures apply, including those listed below: | X | X | X
| ISO-NE Operating Procedure No. 1 - Central Dispatch Operating Responsibility and Authority of ISO New England, Local Control Centers and Market Participants | X | X | X
| ISO-NE Operating Procedure No. 4 - Action During a Capacity Deficiency | X | X | X
| ISO-NE Operating Procedure No. 6 - System Restoration | X | X | X
| ISO-NE Operating Procedure No. 7 - Action in an Emergency | X | X | X
North American Electric Reliability Corporation (NERC) | Reliability Standards
Northeast Power Coordinating Council (NPCC) | https://www.npcc.org/Standards/default.aspx
Independent System Operator- New England (ISO-NE) Market & Services Tariff | http://www.iso-ne.com/regulatory/tariff/index.html
Independent System Operator- New England (ISO-NE) Planning Procedures | http://www.iso-ne.com/rules_proceds/isone_plan/index.html
Independent System Operator- New England (ISO-NE) Operation Procedures | http://www.iso-ne.com/rules_proceds/operating/index.html
Maine Public Utilitites Commission (MPUC) | http://www.maine.gov/mpuc/legislative/rules/part3-electric.shtml
Institute of Electrical & Electronic Engineers (IEEE) | IEEE - IEEE Standards
American National Standard Institue (ANSI) | American National Standards Institute - ANSI

## Version History
Version Change Tracking Log
Version | Description of Change | Date of Change
1 | Original | 2005-05-05
2 | Removal of all references to BHEC Transmission Planning Criteria as it is not applicable to BES network interconnections, only local non-BPS assets | 2009-06-19
3 | Removal of ISO-NE PP6 as document retired. Change word "Operating" to "Planning" in Req R2.1.2 document references for ISO-NE. Removal of document date for National Electric Safety Code reference item R2.1.7. | 2009-08-10
4 | Remove references to FAC-001-0 R1 as these are repeated in R2 summary. Remove references to regional standards & processes to no longer in effect. Consolidate various ISO-NE PP5 processes into single reference. Change name of references as applicable to reflect changes by NPCC and others. Remove reference to ISO-NE PP6. Add columns specifiying what Facility Interconnection Requirements are apply to type of interconnect (gen, transmission or end-use). Updated citations to more accurately reflect regional requirements. | 2010-12-28
5 | Addition of contact names in document header | 2011-02-24
6 | Change contact name in document header. Change sub-title of document name column. Add reference to NERC TPL Standards in R2.1.1. Add reference to NERC MOD Standards MOD-010 and MOD-012 in R2.1.2. Removal of NEPOOOL Short Circuit Model from R2.1.4. Removal of reference to NPCC Directory 4 Appendix A from R2.1.5 as it is included in reference NPCC Directory 4 of same. Add reference to NERC CIP Reliability Standards (CIP-002 through CIP-009) and NPCC Criteria A-10 in R2.1.5. Add reference to NERC Voltage & Reactive Reliability Standards (VAR-001 & VAR-002) in R2.1.9. Add reference to NERC Facility Rating Reliability Standards (FAC-008 & FAC-009) in R2.1.11. Add NERC UFLS & UVLS Program Reliability Standards to R2.1.14. Removal of IOS-OP3 Appendix B (retired). Add hyperlinks to various references at the end of summary spreadsheet. | 2012-03-26
7 | Change all references of Bangor Hydro to Emera Maine | 2013-12-10
8 | Change row labels to match format and requirements of FAC-001-1 | 2014-02-06
9 | Add reference to ISO-NE Schedule 25, remove reference to ISO-NE Planning Procedure 8, Construction Sequencing. Modify layout of interconnection document to match Reliability Standard FAC-001-2 requirements. | 2016-05-06
10 | Change all references of Emera Maine to Versant Power | 2020-07-01